## Slide 1
Installation Solution Simulator
ver. 1.2
P series

## Slide 2
Mount Plate |  | 
PNV-A6081R | PNV-A9081R | PNV-A9081RLP
Ø180 (7.09") | 
PND-A6081RF | PND-A9081RF
Mount Plate |  |  | 
PNM-12082RVD | PNM-7082RVD | PNM-C12082RVD | PNM-C7082RVD
PF 1-1/2" TAP
PNM-9322VQP
Mount Plate | 
PNM-7002VD | PNM-9000VD
Mount Plate, 120x120
PNM-9002VQ
Mount Plate, 120x120 | 
PNM-9031RV | PNM-9022V
Mount Plate, 120x120
PNM-9030V
PNM-9000QB
Mount Plate |  | 
PNO-A6081R | PNO-A9081R | PNO-A9081RLP
2hole-1/4"-20 UNC TAP |  | 
PNB-A6001 | PNB-A9001 | PNB-A9001LP
Mount Plate , 180x180 |  |  | 
PNM-9084RQZ1 | PNM-9085RQZ1 | PNM-9084RQZ | PNM-9085RQZ
Mount Plate , 120x120 |  | 
PNM-9084QZ1 | PNM-8082VT | PNM-9084QZ
Mount Plate | 
PND-A6081RV | PND-A9081RV

## Slide 3
Site map for X
Network Camera Series
Q-series Camera
X-series Camera
L-series Camera
A-series Camera
P-series Camera
Bullet
Remote
Head
Box
Dome
Flush
Full Lineup of
P-series Camera
Camera
Full Lineup of Acc.
Parapet
Ceiling
Wall
Pole
Corner
Vandal
Multi
Panoramic
PNV - A6081R / A9081R / A9081RLP
PND - A6081RV / A9081RV
PND - A6081RF / A9081RF
PNO - A6081R / A9081R / A9081RLP
PNB - A6001 / A9001 / A9001LP
PNM - 12082RVD / 7082RVD / C12082RVD / C7082RVD
PNM - 9084RQZ1 / 9085RQZ1 / 9084RQZ / 9085RQZ
PNM - 9084QZ1 / 8082VT / 9084ZQ
PNM - 9322VQP
PNM - 7002VD / 9000VD
PNM - 9002VQ
PNM - 9031RV / PNM - 9022V
PNM - 9030V
PNM - 9000QB

## Slide 4
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Mount Plate (Single, Double, 4” octagon, Square) |  | 
PNV-A6081R | PNV-A9081R | PNV-A9081RLP
Ø180 x 125 mm(Ø7.09 x 4.92"), 1.90Kg (4.19lb) | Ø180 x 125 mm(Ø7.09 x 4.92"), 1.90Kg (4.19lb) | Ø180 x 125 mm(Ø7.09 x 4.92"), 1.90Kg (4.19lb)
Wall
Ceiling

## Slide 5
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PNV – A6081R / A9081R / A9081RLP
Wall
Ceiling
Hanging Mount | Ceiling Mount | Wall Mount | Wall Mount | Wall Mount | Wall Mount Base
SBP-187HMW | SBP-300CMW | SBP-300WMW1 | SBP-300WMW | SBP-390WMW2 | SBP-300BW
Pole Mount Base | Corner Mount | Parapet Mount | Installation Box | Back Box | Back Box
SBP-300PMW1 | SBP-300KMW1 | SBP-300LMW | SBP-300NBW | SBV-180BW | SBV-180WW
Weather Cap | Skin Cover_Black | Skin Cover_Ivory | Smoke Dome Cover |  | 
SBV-181WCW | SBC-180B | SBC-180B | SPB-VAN85W |  | 
IP66

## Slide 6
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PNV – A6081R / A9081R / A9081RLP
SBV-180BW
SBV-180WW
or
Back Box
Ceiling
Wall
IP66
SBP-187HMW
+
SBP-300CMW
Ceiling Mount
Hanging Mount

## Slide 7
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PNV – A6081R / A9081R / A9081RLP
Ceiling
Wall
+
Back Box
or
SBV-180BW
SBV-180WW
Weather Cap
SBV-181WCW
+
Hanging Mount
SBP-187HMW
IP66
SBP-300WMW1
or
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW

## Slide 8
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PNV – A6081R / A9081R / A9081RLP
Wall
Ceiling
+
Hanging Mount
SBP-187HMW
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+

## Slide 9
Camera spec.
Full Lineup of Acc.
Pole
PNV – A6081R / A9081R / A9081RLP
Wall
Ceiling
Hanging Mount
Corner
Parapet
Corner Mount
SBP-300KMW1
+
+
SBP-300LMW
Parapet Mount
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-187HMW
SBP-187HMW

## Slide 10
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Mount Plate (Single, Double, 4” octagon, Square) | 
PND-A6081RV | PND-A9081RV
Ø160 x 125mm (6.30 x 4.92"), 1.60Kg (3.53lb) | Ø160 x 125mm (6.30 x 4.92"), 1.60Kg (3.53lb)
Ceiling
Parapet

## Slide 11
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PND – A6081RV / A9081RV
Hanging Mount | Ceiling Mount | Wall Mount | Wall Mount | Wall Mount
SBP-167HMW | SBP-300CMW | SBP-300WMW1 | SBP-300WMW | SBP-390WMW2
Wall Mount Base | Pole Mount Base | Corner Mount | Parapet Mount | Installation Box
SBP-300BW | SBP-300PMW1 | SBP-300KMW1 | SBP-300LMW | SBP-300NBW
Back Box | Weather Cap | Skin Cover_Black | Skin Cover_Ivory | Smoke Dome Cover
SBV-180BW | SBV-161WCW | SBC-160B | SBC-160B | SPB-IND85W
Ceiling
Parapet

## Slide 12
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PND – A6081RV / A9081RV
Ceiling
Wall
SBV-180BW
Back Box
SBP-167HMW
+
SBP-300CMW
Ceiling Mount
Hanging Mount

## Slide 13
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PND – A6081RV / A9081RV
Ceiling
Wall
Back Box
Weather Cap
SBV-161WCW
+
Hanging Mount
SBP-167HMW
SBV-180BW
+
or
SBP-300WMW1
or
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW

## Slide 14
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PND – A6081RV / A9081RV
Ceiling
Parapet
Hanging Mount
SBP-167HMW
+
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+

## Slide 15
Camera spec.
Full Lineup of Acc.
Wall
Pole
PND – A6081RV / A9081RV
Ceiling
Hanging Mount
SBP-167HMW
Corner
Parapet
Corner Mount
SBP-300KMW1
+
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
+
SBP-300LMW
Parapet Mount
Hanging Mount
SBP-167HMW

## Slide 16
Camera spec.
Full Lineup of Acc.
Hole Size Ø180 (7.09") | 
PND-A6081RF | PND-A9081RF
Ø205 x 163mm (8.07 x 4.92"), 1.95Kg (4.30lb) | Ø205 x 163mm (8.07 x 4.92"), 1.95Kg (4.30lb)

## Slide 17
Camera spec.
Full Lineup of Acc.
PND-A6081RF / A9081RF
Smoke Dome Cover |  |  |  | 
SPB-FCD85W |  |  |  | 

## Slide 18
Camera spec.
Full Lineup of Acc.
Pole
Mount Plate (Single, Double, 4” octagon, Square) |  | 
PNO-A6081R | PNO-A9081R | PNO-A9081RLP
Ø91.0 x 368.6mm (3.58" x 14.51"), 2.48Kg (5.47lb) | Ø91.0 x 368.6mm (3.58" x 14.51"), 2.48Kg (5.47lb) | Ø91.0 x 368.6mm (3.58" x 14.51"), 2.48Kg (5.47lb)

## Slide 19
Camera spec.
Full Lineup of Acc.
Pole
PNO-A6081R / A9081R / A9081RLP
Pole Mount |  |  |  | 
SBP-302PM |  |  |  | 

## Slide 20
Camera spec.
Full Lineup of Acc.
PNO-A6081R / A9081R / A9081RLP
Pole
Pole Mount
SBP-302PM

## Slide 21
Camera spec.
Full Lineup of Acc.
1/4"-20 UNC TAP / 2 holes |  | 
PNB-A6001 | PNB-A9001 | PNB-A9001LP
81(W)x67(H)X165(D)mm(3.19x2.64x6.48"), 0.88kg(1.94lb) | 81(W)x67(H)X165(D)mm(3.19x2.64x6.48"), 0.88kg(1.94lb) | 81(W)x67(H)X165(D)mm(3.19x2.64x6.48"), 0.88kg(1.94lb)

## Slide 22
Camera spec.
Full Lineup of Acc.
PNB – A6001 / A9001 / A9001LP
Housing |  |  |  | 
SHB-4301HP |  |  |  | 

## Slide 23
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Ceiling
Parapet
Mount Plate (Single, Double, 4” octagon, Square) |  |  | 
PNM-12082RVD | PNM-7082RVD | PNM-C12082RVD | PNM-C7082RVD
215(W)x135(D)x93.2(H)mm (8.46"x5.31"x3.67") 1.33kg(2.93lb) | 215(W)x135(D)x93.2(H)mm (8.46"x5.31"x3.67") 1.33kg(2.93lb) | 215(W)x135(D)x93.2(H)mm (8.46"x5.31"x3.67") 1.33kg(2.93lb) | 215(W)x135(D)x93.2(H)mm (8.46"x5.31"x3.67") 1.33kg(2.93lb)

## Slide 24
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PNM – 12082RVD / 7082RVD / C12082RVD / C7082RVD
Ceiling
Parapet
Hanging Mount |  | Ceiling Mount | Wall Mount | Wall Mount
SBP-215HMW CORE | SBP-215HMW CAP | SBP-300CMW | SBP-300WMW1 | SBP-300WMW
Wall Mount | Wall Mount Base | Pole Mount | Corner Mount | Parapet Mount
SBP-390WMW2 | SBP-300BW | SBP-300PMW1 | SBP-300KMW1 | SBP-300LMW1
Installation Box | Weather Cap | I/O Box |  | 
SBP-300NBW | SBV-215WCW | SPM-4210 |  | 
Indoor only

## Slide 25
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Ceiling
Wall
PNM – 12082RVD / 7082RVD / C12082RVD / C7082RVD
SBP-215HMW CORE
+
SBP-300CMW
Ceiling Mount
Hanging Mount
Indoor only

## Slide 26
SBV-215WCW
SBP-215HMW
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Wall
PNM – 12082RVD / 7082RVD / C12082RVD / C7082RVD
Ceiling
+
Weather Cap
SBP-300WMW1
or
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW
Hanging Mount

## Slide 27
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PNM – 12082RVD / 7082RVD / C12082RVD / C7082RVD
Wall
Ceiling
Hanging Mount
SBP-215HMW
+
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+

## Slide 28
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PNM – 12082RVD / 7082RVD / C12082RVD / C7082RVD
Wall
Ceiling
Corner Mount
SBP-300KMW1
+
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
+
SBP-300LMW
Parapet Mount
Hanging Mount
SBP-215HMW
Hanging Mount
SBP-215HMW

## Slide 29
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Ceiling
Parapet
Mount Plate (Single, Double, 4” octagon, Square), 180x180 |  |  | 
PNM-9084RQZ1 | PNM-9085RQZ1 | PNM-9084RQZ | PNM-9085RQZ
Ø315 x 145.9 mm (12.40" x 5.74"), 5.2 kg(11.5lb) | Ø315 x 145.9 mm (12.40" x 5.74"), 5.2 kg(11.5lb) | Ø315 x 145.9 mm (12.40" x 5.74"), 5.2 kg(11.5lb) | Ø315 x 145.9 mm (12.40" x 5.74"), 5.2 kg(11.5lb)

## Slide 30
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PNM – 9084RQZ1 / 9085RQZ1 / 9084RQZ / 9085RQZ
Ceiling
Parapet
Hanging Mount | Ceiling Mount | Wall Mount | Wall Mount | Wall Mount Base
SBP-317HMW | SBP-300CMW | SBP-300WMW | SBP-390WMW2 | SBP-300BW
Pole Mount Base | Corner Mount | Parapet Mount | Installation Box | 
SBP-300PMW1 | SBP-300KMW1 | SBP-300LMW | SBP-300NBW | 

## Slide 31
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Ceiling
Wall
PNM – 9084RQZ1 / 9085RQZ1 / 9084RQZ / 9085RQZ
SBP-317HMW
+
SBP-300CMW
Ceiling Mount
Hanging Mount
Hanging Mount
SBP-317HMW
+
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW

## Slide 32
Camera spec.
Full Lineup of Acc.
Ceiling
Wall
Pole
Corner
Parapet
PNM – 9084RQZ1 / 9085RQZ1 / 9084RQZ / 9085RQZ
+
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-317HMW

## Slide 33
Camera spec.
Full Lineup of Acc.
Ceiling
Wall
Pole
Corner
Parapet
PNM – 9084RQZ1 / 9085RQZ1 / 9084RQZ / 9085RQZ
Hanging Mount
SBP-317HMW
Hanging Mount
SBP-317HMW
Corner Mount
SBP-300KMW1
+
+
Wall Mount
SBP-300WMW
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
+
SBP-300LMW
Parapet Mount

## Slide 34
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Ceiling
Parapet
Mount Plate (Single, Double, 4” octagon, Square), 120x120 |  | 
PNM-9084QZ1 | PNM-8082VT | PNM-9084QZ
Ø251 x 116.5mm (9.88" x 4.58"), 3 kg(6.61lb) | Ø251 x 116.5mm (9.88" x 4.58"), 3 kg(6.61lb) | Ø251 x 116.5mm (9.88" x 4.58"), 3 kg(6.61lb)

## Slide 35
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PNM-9084QZ1 / 8082VT / 9084QZ
Ceiling
Parapet
Hanging Mount | Ceiling Mount | In-ceiling Housing | Wall Mount | Wall Mount
SBP-276HMW | SBP-300CMW | SHD-3000F5 | SBP-300WMW1 | SBP-300WMW
Wall Mount | Wall Mount Base | Pole Mount Base | Corner Mount | Parapet Mount
SBP-390WMW2 | SBP-300BW | SBP-300PMW1 | SBP-300KMW1 | SBP-300LMW
Installation Box |  |  |  | 
SBP-300NBW |  |  |  | 
Plenum

## Slide 36
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Ceiling
Wall
PNM-9084QZ1 / 8082VT / 9084QZ
SBP-276HMW
+
SBP-300CMW
Ceiling Mount
Hanging Mount
In-ceiling Housing
Plenum
SHD-3000F5

## Slide 37
Camera spec.
Full Lineup of Acc.
Ceiling
Pole
Corner
Parapet
Wall
PNM-9084QZ1 / 8082VT / 9084QZ
+
Hanging Mount
SBP-276HMW
SBP-300WMW1
or
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW

## Slide 38
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Wall
Ceiling
PNM-9084QZ1 / 8082VT / 9084QZ
+
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-276HMW

## Slide 39
Camera spec.
Full Lineup of Acc.
Ceiling
Pole
Corner
Parapet
Wall
PNM-9084QZ1 / 8082VT / 9084QZ
Corner Mount
SBP-300KMW1
+
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-276HMW
SBP-300LMW
Parapet Mount
Hanging Mount
SBP-276HMW
+

## Slide 40
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Ceiling
Parapet
PF 1-1/2” TAP
PNM-9322VQP
Ø367.8 x 335.7mm (Ø144.8" x 132.2"), 7.05 kg(15.54lb)

## Slide 41
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PNM-9322VQP
Ceiling
Parapet
Ceiling Mount | Wall Mount | Wall Mount | Wall Mount Base | Pole Mount Base
SBP-300CMW | SBP-300WMW | SBP-390WMW2 | SBP-300BW | SBP-300PMW1
Corner Mount | Parapet Mount | Installation Box |  | 
SBP-300KMW1 | SBP-300LMW | SBP-300NBW |  | 

## Slide 42
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Ceiling
Wall
PNM-9322VQP
SBP-300WMW1
or
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW
SBP-300CMW
Ceiling Mount

## Slide 43
Camera spec.
Full Lineup of Acc.
Ceiling
Wall
Pole
Corner
Parapet
PNM-9322VQP
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+

## Slide 44
Camera spec.
Full Lineup of Acc.
Ceiling
Wall
Pole
Corner
Parapet
PNM-9322VQP
Corner Mount
SBP-300KMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
SBP-300LMW
Parapet Mount

## Slide 45
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Ceiling
Parapet
Mount Plate (Single, Double, 4” octagon, Square) | 
PNM-7002VD | PNM-9000VD
Ø197.6 x 84mm (7.78 x 3.31"), 1.25 kg(2.76lb) | Ø197.6 x 84mm (7.78 x 3.31"), 1.25 kg(2.76lb)

## Slide 46
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PNM-7002VD / 9000VD
Ceiling
Parapet
Hanging Mount | Ceiling Mount | Wall Mount | Wall Mount | Wall Mount
SBP-201HMW | SBP-300CMW | SBP-300WMW1 | SBP-300WMW | SBP-390WMW2
Wall Mount Base | Pole Mount Base | Corner Mount | Parapet Mount | Installation Box
SBP-300BW | SBP-300PMW1 | SBP-300KMW1 | SBP-300LMW | SBP-300NBW

## Slide 47
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Ceiling
Wall
PNM-7002VD / 9000VD
+
SBP-300WMW1
or
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW
Hanging Mount
SBP-201HMW
+
SBP-300CMW
Ceiling Mount
Hanging Mount
SBP-201HMW

## Slide 48
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Wall
Ceiling
PNM-7002VD / 9000VD
+
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-201HMW

## Slide 49
Camera spec.
Full Lineup of Acc.
Pole
Wall
Ceiling
Corner
Parapet
PNM-7002VD / 9000VD
Corner Mount
SBP-300KMW1
+
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
SBP-300LMW
Parapet Mount
+
Hanging Mount
SBP-201HMW
Hanging Mount
SBP-201HMW

## Slide 50
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Ceiling
Parapet
Mount Plate (Single, Double, 4” octagon, Square), 120x120
PNM-9002VQ
Ø253 x 130mm (9.96 x 5.12"), 3 kg(6.61lb)

## Slide 51
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PNM-9002VQ
Ceiling
Parapet
Hanging Mount | Ceiling Mount | In-ceiling Housing | Wall Mount | Wall Mount
SBP-276HMW | SBP-300CMW | SHD-3000F5 | SBP-300WMW1 | SBP-300WMW
Wall Mount | Wall Mount Base | Pole Mount Base | Corner Mount | Parapet Mount
SBP-390WMW2 | SBP-300BW | SBP-300PMW1 | SBP-300KMW1 | SBP-300LMW
Installation Box |  |  |  | 
SBP-300NBW |  |  |  | 
Plenum

## Slide 52
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Ceiling
Wall
PNM – 9002VQ
SBP-276HMW
+
SBP-300CMW
Ceiling Mount
Hanging Mount
In-ceiling Housing
Plenum
SHD-3000F5

## Slide 53
Camera spec.
Full Lineup of Acc.
Ceiling
Pole
Corner
Parapet
PNM – 9002VQ
Wall
+
Hanging Mount
SBP-276HMW
SBP-300WMW1
or
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW

## Slide 54
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Wall
Ceiling
PNM – 9002VQ
+
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-276HMW

## Slide 55
Camera spec.
Full Lineup of Acc.
Ceiling
Pole
Corner
Parapet
PNM – 9002VQ
Wall
Corner Mount
SBP-300KMW1
+
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-276HMW
SBP-300LMW
Parapet Mount
Hanging Mount
SBP-276HMW
+

## Slide 56
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Ceiling
Parapet
Mount Plate (Single, Double, 4” octagon, Square), 120x120 | 
PNM-9031RV | PNM-9022V
Ø253 x 170mm (9.96" x 6.69"), 3 kg(6.39lb) | Ø253 x 165mm (9.96" x 6.5"), 3.2 kg(7.05lb)

## Slide 57
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PNM-9031RV
Ceiling
Parapet
Hanging Mount | Ceiling Mount | Wall Mount | Wall Mount | Wall Mount
SBP-276HMW | SBP-300CMW | SBP-300WMW1 | SBP-300WMW | SBP-390WMW2
Wall Mount Base | Pole Mount Base | Corner Mount | Parapet Mount | Installation Box
SBP-300BW | SBP-300PMW1 | SBP-300KMW1 | SBP-300LMW | SBP-300NBW
Weather Cap |  |  |  | 
SBV-253WCW |  |  |  | 

## Slide 58
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Ceiling
PNM-9031RV
Wall
+
SBP-300CMW
Ceiling Mount
SBP-276HMW
Hanging Mount

## Slide 59
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
PNM-9031RV
Ceiling
Wall
+
Hanging Mount
SBP-276HMW
SBP-300WMW1
or
Wall Mount
SBP-390WMW2
or
Option
Installation Box
SBP-300NBW
+
Option
or
+
Wall Mount Base
SBP-300BW
Installation Box
SBP-300NBW
SBP-300WMW
SBV-253WCW
Weather Cap

## Slide 60
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Wall
Ceiling
PNM-9031RV
+
Pole Mount
SBP-300PMW1
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-276HMW

## Slide 61
Camera spec.
Full Lineup of Acc.
Pole
Wall
Ceiling
Corner
Parapet
PNM-9031RV
Corner Mount
SBP-300KMW1
+
+
Wall Mount
SBP-300WMW1
SBP-300WMW
or
or
SBP-390WMW2
Installation Box
SBP-300NBW
Option
+
Hanging Mount
SBP-276HMW
SBP-300LMW
Parapet Mount
Hanging Mount
SBP-276HMW
+

## Slide 62
Camera spec.
Full Lineup of Acc.
Pole
Corner
Wall
Ceiling
Parapet
Mount Plate (Single, Double, 4” octagon, Square), 120x120
PNM-9030V
Ø253 x 165mm (9.96" x 6.5"), 3.2 kg(7.05lb)

## Slide 63
Camera spec.
Full Lineup of Acc.
Wall
Pole
Corner
PNM-9030V
Ceiling
Parapet
Hanging Mount | Ceiling Mount | Wall Mount | Wall Mount | Wall Mount
SBP-276HM | SBP-300CM | SBP-300WM1 | SBP-300WM | SBP-390WM2
Wall Mount Base | Pole Mount Base | Corner Mount | Parapet Mount | 
SBP-300B | SBP-300PM1 | SBP-300KM1 | SBP-300LM | 

## Slide 64
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Ceiling
Wall
SBP-276HM
+
SBP-300CM
Ceiling Mount
Hanging Mount
PNM-9030V
+
Wall Mount
or
SBP-300WM1
SBP-300WM
SBP-390WM2
Hanging Mount
SBP-276HM
Option
+
Wall Mount Base
SBP-300B
or

## Slide 65
Camera spec.
Full Lineup of Acc.
Pole
Corner
Parapet
Wall
Ceiling
PNM-9030V
Pole Mount
SBP-300PM1
+
+
Hanging Mount
Wall Mount
SBP-300WM1
SBP-300WM
or
or
SBP-390WM2
SBP-276HM

## Slide 66
Camera spec.
Full Lineup of Acc.
Pole
Wall
Ceiling
Corner
Parapet
PNM-9030V
Corner Mount
SBP-300KM1
+
Hanging Mount
SBP-276HM
+
Wall Mount
SBP-300WM1
SBP-300WM
or
or
SBP-390WM2
SBP-300LM
Parapet Mount
Hanging Mount
SBP-276HM
+

## Slide 67
Camera spec.
Full Lineup of Acc.
PNM-9000QB
200(W)x37(H)X146(D)mm(7.87x1.46x5.75"), 715 g(1.58lb)

## Slide 68
Camera spec.
Full Lineup of Acc.
PNM-9000QB
Ceiling Housing |  |  |  | 
SBL-100D |  |  |  | 

## Slide 69
Thank you !